Öz:Bu çalışmanın amacı, BACTEC kan kültür sistemi ile elde edilen deneyimleri değerlendirmek idi. Üç yıllık süre içinde BACTEC kan kültür sistemi ile yapılan 5678 kan kültürünün 711 'in den pozitif sinyal alındı. Bunların 686'sında (% 12) mikroorganizma üremesi saptanırken, 25'inde (%0.4) üreme olmadı. En sık saptanan mikroorganizmalar % 48 oranı ile Gram-pozitif koklardı. Bunlarında % 76'sını Staphylococcus türleri oluşturuyordu. Gram-negatif mikroorganizmalar % 37 olarak bulunurken; maya türleri % 6 oranında üredi. Bu sistemle kontaminasyon oranı % 9 olarak saptandı. Üreme olan toplam 686 mikroorganizmanın 465'i (% 68) ilk 24 saat veya daha az zamanda pozitif sinyal verirken; 221"i (% 32) 24 saatten sonra pozitif üreme sinyali verdi. Konvansiyonel yöntemlere göre; kısa sürede bakteri üremesinin belirlenmesi, antibiyotik duyarlılık testinin kısa zamanda yapılmasına olanak sağlaması ve kontaminasyon oranının düşük olması bu tür otomatize kan kültürü sistemlerinin avantajları olarak değerlendirildi.
Başlık (İngilizce):The evaluation of blood cultures using BACTEC blood culture system in the Turgut Ozal Medical Center, Inönü University
Öz (İngilizce):The aim of this paper is to evaluate the experience with BACTEC blood culture system. Results of 5678 blood cultures collected over a period of three years were evaluated. Of these 711 gave positive singals but growth occurred only in 686 bottles (12%), no growth in 25 (0.4%). Gram positive cocci were the most commonly identified organisms (48%) and Staphylococcus spp. were the most common isolates (76%). The isolation rates of other organisms were 37% for Gram-negative bacteria and 6% for yeasts. In the system the contamination rate was 9%. In 465 bottles (68%) positive signal was seen within the first 24 hours while in the rest 221 bottles (32%) positive signal was observed after 24 hours. It is concluded this system yields positive cultures within a short time and enables earlier determination of antibiotic susceptibility. The low contamination rate is another advantage of the system.
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